## Sheet1
|  | xray | 1.5 mAs | 50kV
cadaver 5667 |  |  | prefusion | post fusion | post scaphoid excision
L | lateral | abduc | 42 | 34 | 37
|  | adduc | -8 | 0 | -6
| AP | abduc | 32 | 28 | 32
|  | adduc | -40 | -20 | -30
R | lateral | abduc | 40 | 48 | 49
|  | adduc | 4 | 20 | 2
| AP | abduc | 32 | 30 | 32
|  | adduc | -20 | -2 | -22
3R | lateral | abduc | 50 | 30 | 30
|  | adduc | 0 | 12 | 0
| AP | abduc | 50 | 40 | 44
|  | adduc | -8 | 24 | 12
4L | lateral | abduc | 44 | 28 | 32
|  | adduc | -16 | 14 | -2
| AP | abduc | 52 | 40 | 42
|  | adduc | 5 | 18 | 12
5R | lateral | abduc | 40 | 22 | 30
|  | adduc | -20 | 12 | 0
| AP | abduc | 40 | 30 | 32
|  | adduc | -14 | 10 | 8
6R | lateral | abduc | 28 | 18 | 22
|  | adduc | -22 | 6 | -2
| AP | abduc | 30 | 30 | 32
|  | adduc | -12 | 22 | 16
7L | lateral | abduc | 38 | 14 | 26
|  | adduc | -20 | -4 | -10
| AP | abduc | 38 | 36 | 38
|  | adduc | -4 | 20 | 16
average | lateral | abduc | 40.2857 | 27.7143 | 32.2857
|  | adduc | -11.7143 | 8.5714 | -2.5714
| AP | abduc | 39.1429 | 33.4286 | 36
|  | adduc | -13.2857 | 10.2857 | 1.7143
|  |  | pre-fusion | post-fusion | s/p scaphoid excision
rounded average | lateral | palmer abduc | 40 | 27 | 32
|  | extension | -12 | 10 | -2
| AP | abduc | 40 | 34 | 37
|  | adduc | -9 | 15 | 6

## Sheet2
|  | xray | 1.5 mAs | 50kV
Arc of motion
cadaver 5667 |  |  | prefusion | post fusion | post scaphoid excision |  |  | prefusion | post fusion | Post scaphoid excision | postfusion/prefusion | scaph exc/prefusion | diff in arc of motion pre/post
1L | lateral | abduc | 42 | 34 | 37 |  | lat | 50 | 34 | 43 | 0.68 | 0.86 | 0.18
|  | adduc | -8 | 0 | -6 | [7 empty] | 0
| PA | abduc | 32 | 28 | 32 |  | ap | 72 | 48 | 62 | 0.66667 | 0.86111 | 0.19444
|  | adduc | -40 | -20 | -30 | [7 empty] | 0
0
2R | lateral | abduc | 40 | 48 | 49 |  |  | 36 | 28 | 47 | 0.77778 | 1.3056 | 0.52778
|  | adduc | 4 | 20 | 2 | [7 empty] | 0
| PA | abduc | 32 | 30 | 32 |  |  | 52 | 32 | 54 | 0.61538 | 1.0385 | 0.42308
|  | adduc | -20 | -2 | -22 | [7 empty] | 0
0
3R | lateral | abduc | 50 | 30 | 30 |  |  | 50 | 18 | 30 | 0.36 | 0.6 | 0.24
|  | adduc | 0 | 12 | 0 | [7 empty] | 0
| PA | abduc | 50 | 40 | 44 |  |  | 58 | 16 | 32 | 0.27586 | 0.55172 | 0.27586
|  | adduc | -8 | 24 | 12 | [7 empty] | 0
0
4L | lateral | abduc | 44 | 28 | 32 |  |  | 60 | 14 | 34 | 0.23333 | 0.56667 | 0.33333
|  | adduc | -16 | 14 | -2 | [7 empty] | 0
| PA | abduc | 52 | 40 | 42 |  |  | 47 | 22 | 30 | 0.46809 | 0.6383 | 0.17021
|  | adduc | 5 | 18 | 12 | [7 empty] | 0
0
5R | lateral | abduc | 40 | 22 | 30 |  |  | 60 | 10 | 30 | 0.16667 | 0.5 | 0.33333
|  | adduc | -20 | 12 | 0 | [7 empty] | 0
| PA | abduc | 40 | 30 | 32 |  |  | 54 | 20 | 24 | 0.37037 | 0.44444 | 0.074074
|  | adduc | -14 | 10 | 8 | [7 empty] | 0
0
6R | lateral | abduc | 28 | 18 | 22 |  |  | 50 | 12 | 24 | 0.24 | 0.48 | 0.24
|  | adduc | -22 | 6 | -2 | [7 empty] | 0
| PA | abduc | 30 | 30 | 32 |  |  | 42 | 8 | 16 | 0.19048 | 0.38095 | 0.19048
|  | adduc | -12 | 22 | 16 | [7 empty] | 0
0
7L | lateral | abduc | 38 | 14 | 26 |  |  | 58 | 18 | 36 | 0.31034 | 0.62069 | 0.31034
|  | adduc | -20 | -4 | -10 | [7 empty] | 0
| PA | abduc | 38 | 36 | 38 |  |  | 42 | 16 | 22 | 0.38095 | 0.52381 | 0.14286
|  | adduc | -4 | 20 | 16 | [7 empty] | 0
0
| lateral | abduc | 45.8 | 30.5 | 37.8 |  |  | 56 | 24.5 | 39.5 | 0.4375 | 0.70536 | 0.26786
|  | adduc | -10.2 | 6 | -1.7 | [7 empty] | 0
| PA | abduc | 41.9 | 39.2 | 50.4 |  |  | 38.6 | 36.3 | 49.5 | 0.94041 | 1.2824 | 0.34197
8L |  | adduc | 3.3 | 2.9 | 0.9 | [7 empty] | 0
0
| lateral | abduc | 35.7 | 13 | 20.7 |  |  | 59.6 | 27.1 | 33.4 | 0.4547 | 0.5604 | 0.1057
|  | adduc | -23.9 | -14.1 | -12.7 | [7 empty] | 0
| PA | abduc | 30.2 | 21.7 | 23.1 |  |  | 46.8 | 16.9 | 23.7 | 0.36111 | 0.50641 | 0.1453
9R Eaton1 |  | adduc | -16.6 | 4.8 | -0.6 | [7 empty] | 0
0
| lateral | abduc | 55.2 | 36 | 36.8 |  |  | 73.7 | 33.5 | 37.5 | 0.45455 | 0.50882 | 0.054274
|  | adduc | -18.5 | 2.5 | -0.7 | [7 empty] | 0
| PA | abduc | 48.2 | 36.3 | 37.2 |  |  | 52.8 | 30.7 | 31.6 | 0.58144 | 0.59848 | 0.017045
10L |  | adduc | -4.6 | 5.6 | 5.6 | [7 empty] | 0
0
| lateral | abduc | 42.7 | 38.5 | 42.2 |  |  | 52.1 | 23.6 | 27.5 | 0.45298 | 0.52783 | 0.074856
|  | adduc | -9.4 | 14.9 | 14.7 | [7 empty] | 0
| PA | abduc | 41.9 | 33.7 | 37.5 |  |  | 45.8 | 25.8 | 34.4 | 0.56332 | 0.75109 | 0.18777
11L |  | adduc | -3.9 | 7.9 | 3.1 | [7 empty] | 0
0
| lateral | abduc | 44.2 | 31.3 | 34.5 |  |  | 63.5 | 31.4 | 38.3 | 0.49449 | 0.60315 | 0.10866
|  | adduc | -19.3 | -0.1 | -3.8 | [7 empty] | 0
| PA | abduc | 34 | 23.1 | 30.5 |  |  | 49.3 | 31.1 | 38.5 | 0.63083 | 0.78093 | 0.1501
12L |  | adduc | -15.3 | -8 | -8 | [7 empty] | 0
0
| lateral | abduc | 45.1 | 46.1 | 44.1 |  |  | 25.5 | 17 | 16.8 | 0.66667 | 0.65882 | -0.0078431
|  | adduc | 19.6 | 29.1 | 27.3 | [7 empty] | 0
| PA | abduc | 38 | 35.5 | 29.8 |  |  | 29.8 | 22.9 | 31.5 | 0.76846 | 1.057 | 0.28859
13R Eaton 2 |  | adduc | 8.2 | 12.6 | -1.7
average1-7 | lateral | abduc | 40.2857 | 27.7143 | 32.2857 |  |  | average 8-13 | lateral | abduc | 44.7833 | 32.5667 | 36.0167
|  | adduc | -11.7143 | 8.5714 | -2.5714 |  |  |  |  | adduc | -10.2833 | 6.3833 | 3.85
| PA | abduc | 39.1429 | 33.4286 | 36 |  |  |  | PA | abduc | 39.0333 | 31.5833 | 34.75
|  | adduc | -13.2857 | 10.2857 | 1.7143 |  |  |  |  | adduc | -4.8167 | 4.3 | -0.11667
|  |  | fusion | scaphoid excision
% normal | lateral | abduc
adduc
| PA | abduc
adduc
|  |  | pre-fusion | post-fusion | s/p scaphoid excision | [5 empty] | pre-fusion | post-fusion | s/p scaphoid excision
rounded average 1-8 | lateral | palmar abduc | 40 | 27 | 32 |  |  | rounded average 9-13 | lateral | palmar abduc | 45 | 33 | 36
|  | extension | -12 | 10 | -2 |  |  |  |  | extension | -10 | 6 | 4
| PA | abduc | 40 | 34 | 37 |  |  |  | PA | abduc | 39 | 32 | 35
|  | adduc | -9 | 15 | 6 |  |  |  |  | adduc | -5 | 4 | 0
| average 1-13 | Lateral | abduc | 42.3615 | 29.9538 | 34.0077
|  |  | adduc | -11.0538 | 7.5615 | 0.39231
|  | PA | abduc | 39.0923 | 32.5769 | 35.4231
|  |  | adduc | -9.3769 | 7.5231 | 0.86923
Average motion
|  |  |  | pre-fusion | post-fusion | s/p scaphoid excision
|  | PA | Planar abduction | 39.09 | 32.58 | 35.42
|  |  | Planar adduction | -9.38 | 7.52 | 0.87
|  | Lateral | palmar abduction | 42.36 | 29.95 | 34.01
|  |  | Palmar adduction | -11.05 | 7.56 | 0.39
% prefusion arc of motion
Average arc of motion |  | prefusion | post fusion | scaphoid excision | [6 empty] | post fusion | scaphoid excision
| PA | 53.4154 | 22.3923 | 33.6154 | [5 empty] | PA | 0.41921 | 0.62932
| Lateral | 48.4692 | 25.0538 | 34.5538 | [5 empty] | Lateral | 0.5169 | 0.7129